	COOLER ERROR CODES

	Error 30   FAN_LIMP
	No fan speed signal detected. Motor will run at full speed

	Error 40   Lo Water Fail
	Cannot detect low water sensor.

	Error 50   Hi_Lo Fail
	Cannot detect high or low water sensor.

	Error 41   Hi Water Fail
	Cannot detect High water sensor.

	Error 42   Drain_fail 
	Servo seal closed but water detected in tank

	Error 60   MOTOR_O-C
	Motor failure


